# Mechanical Sensors Lab

- A capacitive displacement sensor is used to measure rotating shaft wobble shown in the figure below.  The capacity is 520 pF with no wobble.  Find the change in capacity for a +0.035 to -0.035 mm shaft wobble.  Show your calculations.

- To measure the displacement, assume that the capacitive pickoff in problem 1 is used in an AC bridge constructed of only capacitors.  Using 520pF for the bridge capacitors, find the offset bridge voltage for the two extremes of shaft wobble.   Assume a sine wave voltage input having an amplitude of 5 Vrms and a frequency of 5 kHz.  Rather than using an equation from the book, you are required to derive the offset bridge voltage using circuit analysis principles.  Show all your calculations.

- Using Multisim, construct and simulate the AC bridge of problem 2 for the two extreme conditions.  Be sure to provide screenshots.  Also, write a brief summary, noting if the results matched expected results.